SPRINT PLANNING REPORT

Minimum Equipment & Supply Needs

Name of Agency

Date

Surveyor Names:

|  |  |  | Equipment and Supplies |  |  |  |  | EMT/AEMT/PARAMEDIC & Unit Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | UNIT #s |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | §6055 B.1. TWO-WAY RADIO/DAY TO DAY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | COMMUNICATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | FCC type accepted two-way radio communication |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | system for day to day communication |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | §6055 B.2. TWO-WAY RADIO/DISASTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | COMMUNICATION CABILITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Two-way radio with disaster communications |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | capability with the Statewide LWIN system, with |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | the following zones required: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | a. | LERN; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | b. | Bureau of EMS; and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | c. | Statewide Interoperability Channels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Ability to communicate with physician & hospital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | through an appropriate system sufficient to |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ensure adequate communication such as a radio |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | compatible with the Statewide LWIN system; or |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | wireless telephone; or RTSS; or Med. 10 System, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ACT 557.	MEDICAL SUPPLIES and

EQUIPMENT

Develop and maintain a written policy identifying

the equipment required to conduct, maintain, or

operate an ambulance, in fully operational

condition, consistent with the scope of practice

for emergency medical technicians established in

R.S. 40:1133.14.

The policy identifies the trauma equipment,

medications, suction and oxygen equipment,

cardiopulmonary resuscitation equipment, and

any other equipment required by law that shall be

maintained on the ambulance.

The EMT Level emergency response vehicle

equipped in accordance with the written policy.

The AEMT Level emergency response vehicle

equipped in accordance with the written policy.

The PARAMEDIC Level emergency response

vehicle equipped in accordance with the written

policy.

Page 1 of 2

| LOUISIANA DEPARTMENT OF HEALTH |  |  |  |  |  | OFFICE OF PUBLIC HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  | BUREAU OF EMS |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | SPRINT REPORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Equipment and Supplies |  |  |  |  | EMT/AEMT/PARAMEDIC & Unit Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | UNIT #2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | §6055 B.5. AUTOMATED EXTERNAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | DEFIBRILLATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

All Emergency response vehicles that are not

staffed & equipped to the Paramedic level must

carry an AED (automatic or semi-automatic) with

the appropriate lead cables and at least two sets

of the appropriate disposable electrodes. If AED is

capable of manual defibrillation, then an

appropriate lock out mechanism (such as an

access code, computer chip, or lock and key) to

prevent unauthorized use of the device by those

persons not authorized to manually defibrillate

must be an integral part of the device

INFECTION CONTROL EQUIPMENT

Infection Control equipment and supplies are

readily available for each service run that includes

but is not limited to: gloves, face and eye

protection/shields, disinfectants and waterless

hand cleaners, and sharps containers and

biohazard waste trash bags.

SURVEYOR NOTES:

Surveyor Signature:________________________________________	Date:__________________________________

Page 2 of 2